## Slide 1
A-lead
V-lead
Events
AS
VS
AP
VP
SA node
AV node
His-Purkinje System
Remove heart from figure
Remove dialog boxes
Add captions later

## Slide 2
Atrial
lead signal
Ventricular
lead signal
Events detected
in pacemaker
AS
VS
AP
VS
Right Ventricle Lead
Right Atrium Lead
Pacemaker Pulse
Generator
Right Atrium
Left Atrium
Left Ventricle
Right Ventricle
Sensing
Pacing

## Slide 3
Anatomy Model
Blood Flow Model
Electrophysiology Model
Electro-mechanical Model

## Slide 4
Anatomical Model
Electrophysiology Model
Electro-mechanical Model
Cellular Model

## Slide 5
Fig 3: Multi-scale

## Slide 6
Platform Testing
Simulation-based Testing
Model Checking
Non-deterministic UPAAL Model
Abstract Heart and Device models
Deterministic Simulink Model
Increased complexity and interactions
Hardware implementation of verified models
Heart-on-a-Chip Platform

## Slide 7: Model-based Pacemaker Design
Model Checking
Model Simulation
Hardware Testing
UPPAAL Model
Stateflow
Chart
C Code
implementation
UPP2SF
Model Translation
Simulink Coder
Pacemaker
Heart
Non-deterministic
Deterministic
FPGA
implementation
Interpolation
HDL Coder
Notes: We developed a model based design tool chain for pacemaker software development. At verification level we have a set of non-deterministic heart models which covers different heart conditions. Together with a timed-automata model of the pacemaker the closed-loop system is verified in model checker UPPAAL against safety properties.
Using the tool UPP2SF, which is a matlab script developed by us, the UPPAAL model of the pacemaker can be rigorously translated into stateflow chart. We also have deterministic heart models in Simulink which can perform closed-loop simulation with the pacemaker model.
Using the simulink coder, the stateflow chart of the pacemaker can be translated into C code and implemented on any embedded platform.
Using this automated tool chain, we can rule out discrepancies introduced by manual translations between layers. Together with our heart model implementation, we can ensure all properties satisfied at verification level still holds after implementation.

## Slide 8: Heart On A Chip Platform
Notes: With an analog interface the heart model implementation is able to interact with a real pacemaker. Demonstrations of the platform is shown in the case study section.

## Slide 9
SA node
AV node
His-Purkinje System
AS
AS
VS
VS
(a)
(b)
(c)

## Slide 10
MBCT Figure

## Slide 11
Physiological Monitors for Model Training
Timing Constraints for Heart Condition 1
Timing Constraints for Heart Condition 2
Timing Constraints for Heart Condition N
Closed-loop Device Testing
Implantable Cardiac Device
1
2
3
4
H1 H2 H3 H4’ H5’ H6’ H7’ H8’ HN-1’ HN’
Real Patient-Specific
Heart Models
Real Patient Heart Models
Generate Synthetic Heart Models
Complete Population/Parameter Analysis
Synthetic
Heart Model Library
Perturb parameters within constraints

## Slide 12
Implantable Cardiac Device
1
Real Patient
Heart Data
Parameterized
Heart Model
Training
3
Synthetic
Heart Model Library
Cohort
Generation
Parameter Constraints for Heart Condition 1
Parameter Constraints for Heart Condition 2
Parameter Constraints for Heart Condition N
2
Parameter
Constraints
H1
H2
H3
HN
4
Closed-loop
Device Testing
H5
H4

## Slide 13
Implantable Cardiac Device
Real Patient-Specific
Heart Models